## Sheet1
Sample Preparation
Preferred Container type:
Tubes – 1.7 snapcap OR Screwcap eppendorf style
1.0 ml Matrix tubes
We do not accept: .5ml or 2ml Matrix tubes, Dolphins tubes any 2.5 or larger tube. If you have a question about a possible acceptable tube, contact the HTSF prior to preparing your samples.
Plates – the HTSF will ONLY accept the following plate bc of our robotics
| Description: |  | 96 well Skirted PCR plate, hard-shelled
| Vendor: |  | BioRad
| Catalog#: |  | HSP-9631
Optimal DNA/RNA Sample Concentration
Please note the volume: if your volume is low , please contact HTSF
|  | DNA: |  | 60ul
|  | Low DNA: |  | 35ul
|  | Total RNA (TruSeq,): |  | 60ul
|  | Total RNA ( MicroRNA): |  | 6ul
|  | mRNA (non-fragmented): |  | 10ul
|  | Small RNA ( purified)*: |  | 6ul *must be in Molecular grade H2O or 10mM Tris-HCl, PH8.5
|  | Low RNA (Ambion MessageAmp premier RNA amplification Kit) |  | 6ul
|  | Low RNA (Clonetech SMARTer Ultra Low RNA kit for Illumina Sequencing) |  | 5ul
|  | Amplicons: |  | See fragment size field directions
Optimal LIBRARY Sample Concentration
The minimum overall submitted volumes are listed below. If you are submitting a POOL, the combined volume must at least be the min. listed
Please note the volume: if your volume is low , please contact HTSF
|  | Single Library |  | 20ul preferred, 10ul min
|  | Project/ Study Pooled Libraries |  | 20ul preferred, 10ul min
Optimal DNA/RNA Sample Volume
Please note the concentration for your material type. Below is the minimum conc. needed for the sample. Please note that depending on the method used to determine conc., different amounts are required. If there is an issue or your conc. are very low , please contact HTSF.
If determined by Fluorescence (i.e.: Picogreen Assay, Quibit)
|  | DNA: |  | 30-40ng/ul
|  | Low DNA: |  | 10ng
|  | Total RNA (TruSeq, MicroRNA): |  | 30-40ng/ul
|  | mRNA (non-fragmented): |  | 20ng (purified from 1ug Total RNA)
|  | Small RNA ( purified)*: |  | 20ng (purified from 1ug Total RNA) *must be in Molecular grade H2O or 10mM Tris-HCl, PH8.5)
|  | Low RNA (Ambion MessageAmp premier RNA amplification Kit) |  | 20ng - 100 ng
|  | Low RNA (Clonetech SMARTer Ultra Low RNA kit for Illumina Sequencing) |  | 100pg - 10ng
|  | Amplicons: |  | See fragment size field directions
If Concentration is determined by Spectrophotometer (i.e.: Nanodrop, traditional Spec) PLEASE DOUBLE all minimum concentration listed above
Optimal DNA/RNA Sample Volume
Please note the concentration for your material type. Below is the minimum conc. needed for the sample. Please note that depending on the method used to determine conc., different amounts are required. If there is an issue or your conc. are very low , please contact HTSF.
|  | Single DNA Library |  | 10ng/ul min
|  | Small RNA Library |  | as much as possible*
|  | Project / Study Pooled Libraries |  | 15nM minimum total pool , prefer 5nM per library within pool
If Concentration is determined by Spectrophotomer (i.e.: Nanodrop, traditional Spec) PLEASE DOUBLE all minimum concentration listed above
* if library conc. are severely limited, please contact HTSF to discuss problems prior to submission. There is a possibility of failure due to low conc.
Optimal A260/A280 Values
Please list the A260/280 value you obtained when determining the OD of your sample. The ratio of absorbance at 260 nm and 280 nm is used to assess the purity of DNA and RNA. A ratio of ~1.8 is generally accepted as "pure” for DNA; a ratio of ~2.0 is generally accepted as “pure” for RNA. If the ratio is appreciably lower in either case, it may indicate the presence of protein, phenol or other contaminants that absorb strongly at or near 280 nm.
Suggested min DNA Value = 1.6
Suggested min RNA Value = 1.7
The facility requires these values to be provided to asses sample quality. If you do not have these values, the facility can confirm them ( a Quality Check fee will be applied for this service). The Facility reserves the right to reject samples we feel do not pass our standards. Please contact us with any questions.
Optimal A260/A230 Values
Please list the A260/230 value you obtained when determining the OD of your sample. This ratio is used as a secondary measure of nucleic acid purity. The 260/230 values for “pure” nucleic acid are often higher than the respective 260/280 values. If the ratio is appreciably lower than expected, it may indicate the presence of contaminants which absorb at 230 nm.
suggested range = 1.7 +
The facility requires these values to be provided to asses sample quality. If you do not have these values, the facility can confirm them ( a Quality Check fee will be applied for this service). The Facility reserves the right to reject samples we feel do not pass our standards. Please contact us with any questions.
Optimal RNA Integrity Number ( RIN) Values
It is necessary to list the RIN ( RNA Integrity Number) for all RNA samples. The RIN value is obtained from the BioAnalyzer Assay. RIN value allows for classification of total RNA based on a numbering system from 1 to 10. The gradual degradation of rRNA is reflected by a continuous shift towards shorter fragments.
Strongly Degraded = 3 RIN
Partially degraded = 5 RIN
Fully Intact = 10 RIN
suggested min RIN Value = 8+
The facility requires these values to be provided to asses sample quality. If you do not have these values, the facility can confirm them ( a Quality Check fee will be applied for this service). The Facility reserves the right to reject samples we feel do not pass our standards. Please contact us with any questions.
Optimal Fragment Size Values
What is the fragment size of your sample?
Please list the fragment size as indicated below. If available, please include an image of a gel when you submit samples
cDNA and FRAGMENTED SAMPLES:
Standard library fragment size is usually 300bp. It is possible to make libraries from 100-600bp.But if most fragments above 1Kb, further fragmentation is required. Shearing according to Illumina protocols gives sizes range 200-400bp.
| < 1 kb |  | no fragmentation needed, indicate the average fragment size here
| > 1 kb |  | indicate average size and that delicate fragmentation needed
AMPLICON:
Standard library fragment sizes are usually 300bp. Please indicate the size.
| 100 - 600bp : |  | ideal size range
| > 600bp: |  | requires sonication