## Slide 1: Introduction to Fluorescence Light Microscopy
Pablo Ariel, Ph.D.
Microscopy Services Laboratory
Department of Pathology and Laboratory Medicine
University of North Carolina, Chapel Hill
July 2020

## Slide 2
Why ?

## Slide 3
Many other techniques
Notes: Western blot from Gao et al 2018 (Vaziri lab)
Gene expression array from Song et al 2014 (Weissman lab)
Flow cytometry from Uchimura et al 2018 (Ting lab)
Mass spec from Lardinois et al 2019 (Falk lab)

## Slide 4
Key issues
Spatial resolution
Individual cells? Subcellular compartments?
Temporal resolution
seconds, minutes, hours?
Compatibility with live cells

## Slide 5
Advantages of light microscopy
Spatial resolution
0.25um
Temporal resolution
<1s
Compatibility with live cells
Yes.
A lot of interesting biology happens here
Notes: Contrast spatial resolution with flow (1 cell), biochemical fractionation (populations). Temporal resolution of other techniques is slower. Other techniques are not compatible with live cells.

## Slide 6
Spatial resolution digression
How big is the stuff we care about in biology?
Scale of the universe: https://scaleofuniverse.com/
https://micro.magnet.fsu.edu/cells/index.html

## Slide 7
Microscopy example
Scott Williams’ lab (Byrd et al, 2016)
Orientation of cell divisions in skin

## Slide 8
How ?

## Slide 9
Focus on fluorescence light microscopy

## Slide 10
Focus on fluorescence light microscopy

## Slide 11
Light is part of the EM spectrum
Key parameter:

( wavelength )
Notes: https://micro.magnet.fsu.edu/primer/lightandcolor/electromagintro.html
https://micro.magnet.fsu.edu/primer/lightandcolor/lightsourcesintro.html

## Slide 12
Focus on fluorescence light microscopy

## Slide 13
Fluorescence
Jablonksi Energy Diagram
Energy
Ground state
Excited states
S0
S1
S2
Vibrational energy levels
Excitation (absorption)
Vibrational relaxation
Non radiative relaxation
Notes: https://www.olympus-lifescience.com/en/microscope-resource/primer/java/jablonski/jabintro/

## Slide 14
Jablonksi Energy Diagram
Energy
Ground state
Excited states
S0
S1
S2
Vibrational energy levels
Excitation (absorption)
Vibrational relaxation
Non radiative relaxation
Fluorescence
Notes: https://www.olympus-lifescience.com/en/microscope-resource/primer/java/jablonski/jabintro/

## Slide 15
Jablonksi Energy Diagram
Energy
Ground state
Excited states
S0
S1
S2
Vibrational energy levels
Excitation (absorption)
Vibrational relaxation
Non radiative relaxation
Fluorescence emission
Fluorescence
Notes: https://www.olympus-lifescience.com/en/microscope-resource/primer/java/jablonski/jabintro/

## Slide 16
Jablonksi Energy Diagram
Energy
Ground state
Excited states
S0
S1
S2
Vibrational energy levels
Excitation (absorption)
Vibrational relaxation
Non radiative relaxation
Fluorescence emission
Fluorescence
Notes: https://www.olympus-lifescience.com/en/microscope-resource/primer/java/jablonski/jabintro/

## Slide 17
These diagrams can get way more complicated…
Fluorescence
Notes: https://www.olympus-lifescience.com/en/microscope-resource/primer/java/jablonski/jabintro/

## Slide 18
E
Probability and energy of transitions define fluorescence spectrum
Wavelength and energy are connected:
l
Prob
Excitation
spectrum
Emission
spectrum
lex
lem
Stokes shift
Fluorescence
Notes: https://www.olympus-lifescience.com/en/microscope-resource/primer/java/jablonski/jabintro/

## Slide 19
Cells with GFP localized to the nucleus
The Stokes shift is the key to getting contrast from fluorescence
How do I make what I am interested in different from the rest of the sample ?
l
Light source
Excitation filter
Emission filter
Dichroic
Detectors
Fluorescence
Notes: https://www.thermofisher.com/us/en/home/life-science/cell-analysis/cell-analysis-learning-center/molecular-probes-school-of-fluorescence/fundamentals-of-fluorescence-microscopy/epifluorescence-microscope-basics.html

## Slide 20
Fluorescence – smart labelling can give:
GFP in blood vessels
Tissue specificity
Cellular specificity
Astrocyte cells in ballistically transfected brain slices
Subcellular specificity
Molecular specificity
Organelles marked by different fluorophores
Transcription factor binding and diffusion at single molecule level
Notes: https://doi.org/10.1073/pnas.1313753110 ; https://phys.org/news/2013-11-important-clue-circulatory-wired.html
https://doi.org/10.1016/j.jneumeth.2004.05.013
John Allen – Davidson lab
https://doi.org/10.1016/j.ymeth.2017.03.014

## Slide 21
There are many ways to get contrast
Fluorescence
Absorption
Polarization
Phase
…

## Slide 22
Focus on fluorescence light microscopy
How do we visualize small things ?

## Slide 23
Microscopes can be very complicated
Notes: https://micro.magnet.fsu.edu/primer/anatomy/bx51cutaway.html

## Slide 24
The basics
Microscopes generate contrast
Illumination
What ?
How ?

## Slide 25
Contrast and illumination
Cells with GFP localized to the nucleus
l
Light source
Excitation filter
Emission filter
Dichroic
Detectors

## Slide 26
The basics
Microscopes magnify
Microscopes resolve details
Microscopes generate contrast
Illumination
Lenses
What ?
How ?

## Slide 27
Lenses
Most important lenses:
Objectives

## Slide 28
Lenses – resolving vs magnifying
Discerning details
Making bigger images
Jackson’s nose
(an Internet dog)
Notes: Dog’s name: Jackson
http://sustainable-nano.com/2014/01/06/whats-the-difference-between-magnification-and-resolution-dog-of-science-demonstrates/

## Slide 29
Liquid crystalline DNA
Lenses – resolving vs magnifying
Discerning details
Making bigger images
Notes: https://micro.magnet.fsu.edu/primer/anatomy/magnification.html

## Slide 30
Diatoms
North 2006, JCB
Lenses – resolving vs magnifying
Discerning details
Making bigger images
Notes: http://jcb.rupress.org/content/172/1/9.long

## Slide 31
Resolution depends on objective NA, not magnification
Lenses – resolving vs magnifying

## Slide 32
40X/0.6
40X/1.3
Higher resolution means more detail
Resolution depends on objective NA, not magnification
Lenses – resolving vs magnifying
Notes: Images taken on LSM700 on BPAE slide, mitotracker red. 0.136um pixel size (roughly Nyquist). Conditions to roughly match signal and signal to noise levels in both images

## Slide 33
The basics
Microscopes magnify
Microscopes resolve details
Microscopes generate contrast
Illumination
Lenses
What ?
How ?
Microscopes generate images
Detectors

## Slide 34
Detectors
Typically:
cameras
photomultiplier tubes

## Slide 35
The best microscopy is quantitative
Example: ATP concentration in neurons using images
Luciferin + ATP + O2
Oxyluciferin + PPi + AMP + CO2
photons
Calibration curve
Ragnaraju et al, Cell 2014
Notes: https://doi.org/10.1016/j.cell.2013.12.042
DATA not pretty pictures

## Slide 36
Sample
Most common forms of fluorescence microscopy:
Widefield
Sensitive area detector
Detection in parallel
Out of focus objects are blurred
Confocal
Fluorophores
Focal plane
Lenses et al
Notes: Highly simplified ray diagrams
Ray tracing: https://ricktu288.github.io/ray-optics/

## Slide 37
Most common forms of fluorescence microscopy:
Detection in parallel
Out of focus objects are blurred
Confocal
Sample
Widefield
Sensitive area detector
Lenses et al
(Less) sensitive spot detector
Focal plane
Light from out of focus objects removed
Fluorophores:
in focal plane
out of focal plane
Pinhole
Lenses, scanners et al
Notes: Highly simplified ray diagrams
Ray tracing: https://ricktu288.github.io/ray-optics/

## Slide 38
Most common forms of fluorescence microscopy:
Detection in parallel
Out of focus objects are blurred
Confocal
Sample
Widefield
Sensitive area detector
Lenses et al
(Less) sensitive spot detector
Focal plane
Light from out of focus objects removed
Detection in series
Fluorophores:
in focal plane
out of focal plane
Pinhole
Lenses, scanners et al
Notes: Highly simplified ray diagrams
Ray tracing: https://ricktu288.github.io/ray-optics/

## Slide 39
Most common forms of fluorescence microscopy:
Detection in parallel
Out of focus objects are blurred
Confocal
Sample
Widefield
Sensitive area detector
Lenses et al
(Less) sensitive spot detector
Focal plane
Light from out of focus objects removed
Fluorophores:
in focal plane
out of focal plane
Pinhole
Lenses, scanners et al
Detection in series
Notes: Highly simplified ray diagrams
Ray tracing: https://ricktu288.github.io/ray-optics/

## Slide 40
Most common forms of fluorescence microscopy:
Detection in parallel
Out of focus objects are blurred
Confocal
Sample
Widefield
Sensitive area detector
Lenses et al
(Less) sensitive spot detector
Focal plane
Light from out of focus objects removed
Detection in series
Fluorophores:
in focal plane
out of focal plane
Pinhole
Lenses, scanners et al
Notes: Highly simplified ray diagrams
Ray tracing: https://ricktu288.github.io/ray-optics/

## Slide 41
1mm
Nerve terminals in the cochlea
Fitzpatrick lab (Pappa et al, 2019)
50 mm
Widefield
Confocal
Fast
Sensitive
Great for thin samples (typically <10um)
Slow
Less sensitive
Great for thick samples (typically >10um)
Estimating 3D distance between DNA loci
Calabrese lab (Schertzer et al, 2019)
Notes: Calabrese lab paper - https://doi.org/10.1016/j.molcel.2019.05.028

## Slide 42
Imaging is great !
But…

## Slide 43
Thick things are hard to image
Why?
Light scattering due to heterogeneity in refractive index degrades transparency
Options?
Image thin things:
Cells cultured on surfaces
Slices of thicker things
Image transparent things
Naturally transparent
Chemically cleared
Use infrared light (“multiphoton”)

## Slide 44
Light damages…
Live cells (“photodamage”)
Fluorophores (“bleaching”)
Notes: https://www.ncbi.nlm.nih.gov/pmc/articles/PMC3843244/

## Slide 45
Excitation spectra
Fluorophores overlap spectrally
ECFP
EGFP
EYFP
mCherry
Notes: http://www.bdbiosciences.com/en-us/applications/research-applications/multicolor-flow-cytometry/product-selection-tools/spectrum-viewer

## Slide 46
Emission spectra
Fluorophores overlap spectrally
ECFP
EGFP
EYFP
mCherry
Notes: http://www.bdbiosciences.com/en-us/applications/research-applications/multicolor-flow-cytometry/product-selection-tools/spectrum-viewer

## Slide 47
Excitation + emission spectra
Fluorophores overlap spectrally
ECFP
EGFP
EYFP
mCherry
Notes: http://www.bdbiosciences.com/en-us/applications/research-applications/multicolor-flow-cytometry/product-selection-tools/spectrum-viewer

## Slide 48
Autofluorescence can be very high
Data courtesy of Nicolas Renier (Tessier-Lavigne lab, Rockefeller University; ICM Brain & Spine Institute, Paris)
iDISCO-treated brain
Light-sheet imaging
Ex 488; Em 525/50

## Slide 49
Colocalization is complicated
Yellow is useless: easy to manipulate and hard to interpret
Colocalization does not imply interaction
At the molecular level, there is no such thing as colocalization!
At best: two molecules with a certain distance of each other
Higher resolution
“Standard”
microscopy
“Superres”
microscopy
Notes: https://doi.org/10.1111/febs.13652

## Slide 50
What does “representative” image mean?
What population are we making inferences about?
Random sampling vs picking areas that “look right”.
Showing something can happen vs how often it happens.
Images as evidence vs images as illustrations.
“Publication quality” vs actual quality.

## Slide 51
How many images ?
5, 10, 20 ? Why?
Image more cells in more locations, more dishes, more cultures, more slices, more animals ? Where is the variability? More images within a dish may be a poor use of your time.
Do power analysis:
  Variance of what we are measuring
  Minimal effect we want to uncover
  Statistical test we are going to use
  Probability that we will find an effect if there is one

## Slide 52
Where can you get help ?
Imaging cores on campus:
Microscopy Services Laboratory (Rigor and Reproducibility section)
Neuroscience Microscopy Core
Hooker Imaging Core
Biology Department Microscopy Core
Online resources:
iBiology lectures on microscopy
Molecular expressions – exploring the world of optics and microscopy
Olympus microscopy resource center
Nikon MicroscopyU
Zeiss microscopy online campus
Good books ($):
Fundamentals of Light Microscopy and Electronic Imaging
Quantitative Imaging in Cell Biology
Great courses ($$$):
Analytical & Quantitative Light Microscopy (Woods Hole, MA)
Optical Microscopy & Imaging in the Biomedical Sciences (Woods Hole, MA)
Quantitative Imaging: From Acquisition to Analysis (Cold Spring Harbor, NY)
Quantitative Fluorescence Microscopy (Bar Harbor, ME)