## Slide 1: Light-sheet microscopy at MSL: what, why and how?
Pablo Ariel, Ph.D.
Microscopy Services Laboratory
Department of Pathology and Laboratory Medicine
University of North Carolina, Chapel Hill
July 2020

## Slide 2
What ?
Why ?
How ?

## Slide 3
What ?
Why ?
How ?

## Slide 4
Key features of light-sheet microscopy
Sample with fluorophores
Laser sheet
Detection orthogonal to sheet
Objective
x
z

## Slide 5
Different scopes for different questions
Big
Small
Alive
Fixed
Slow
Fast
Lavision Ultramicroscope

## Slide 6
Ultramicroscope
Objective
Sample
Lavision Biotec
UltraMicroscope II

## Slide 7
What ?
Why ?
How ?

## Slide 8
Compared to confocal, light-sheet is
Faster
Less damaging
Modified from Leica Microsystems

## Slide 9
What ?
Why ?
How ?

## Slide 10
https://doi.org/10.17615/C69M15
https://www.ncbi.nlm.nih.gov/books/NBK536385/

## Slide 11
Biological question at the right scale
Requirement # 1

## Slide 12
What is the spacing of the objects you study ?
( more important than size of those objects)
Notes: Resolution 10-1um in XY, 5um in Z (sheet width and Z resolution of 2X/0.5 objective)

## Slide 13
Example:
Labeled axons can be visualized (0.2mm)

## Slide 14
Example:
Labeled axons can be visualized (0.2mm)
but they look bigger

## Slide 15
Problem:
2 objects close together

## Slide 16
?
Problem:
2 objects close together

## Slide 17
?
Problem:
2 objects close together

## Slide 18
Spacing more important than size

## Slide 19
Spacing more important than size

## Slide 20
Correct scale:
Locating cells of interest in large pieces of tissue
Analysis of vasculature
Tracing sparsely labeled axons in brain
Examples of biological questions for the Ultramicroscope
Incorrect scale:
Discerning subcellular details
Counting all cells in densely packed tissue
Tracing individual axons in densely labeled samples
Notes: Subcellular details: counting spines, boutons; is subcellular localization of a protein different in different areas of the tissue
Label all axons exiting region, trace all of them.

## Slide 21
Sample must be transparent
Requirement # 2

## Slide 22
Which clearing method?
Ertürk et al 2012 Nature Protocols
Chung et al 2013 Nature
Tainaka et al 2014 Cell

## Slide 23
Key questions:
How big is your sample?
Do you need to stain lipids?
Do you need immunostaining?
Which clearing method?

## Slide 24
At MSL the best answer has usually been
iDISCO+
Which clearing method?
https://idisco.info/

## Slide 25
Workflow
Sample preparation
days - weeks
Sample mounting
minutes
Sample imaging
minutes - hours
Data visualization
minutes – tens of minutes
Data analysis
hours - months
Data management
tens of GBs – thousands of GBs
Chung et al, Nature 2013
Ertürk et al, 2012
Dobosz et al, Neoplasia 2014
Renier et al, Cell 2016

## Slide 26
Before imaging
During imaging
After imaging

## Slide 27
Trim based on your biology
Notes: Typical: Studying circuits deep in brain; hemisphere as good as both sides
Smaller samples clear faster, use less antibody, faster staining, easier to image, can be cut to size

## Slide 28
Trim based on your biology
Notes: Typical: Studying circuits deep in brain; hemisphere as good as both sides
Smaller samples clear faster, use less antibody, faster staining, easier to image, can be cut to size

## Slide 29
Trim based on your biology
Notes: Typical: Studying circuits deep in brain; hemisphere as good as both sides
Smaller samples clear faster, use less antibody, faster staining, easier to image, can be cut to size

## Slide 30
Trim based on your biology
Notes: Typical: Studying circuits deep in brain; hemisphere as good as both sides
Smaller samples clear faster, use less antibody, faster staining, easier to image, can be cut to size

## Slide 31
Smaller samples:
  stain faster
  require less antibody
  clear faster
  are easier to image
Trim based on your biology
Notes: Typical: Studying circuits deep in brain; hemisphere as good as both sides
Smaller samples clear faster, use less antibody, faster staining, easier to image, can be cut to size

## Slide 32
Clearing - Steal from the best
Use a clearing method that works
Good results with iDISCO+ on:
brains, kidneys, liver, heart, embryos, intestine…
For a question similar to yours
Not just in the lab that created it
With minimal equipment and fuss (avoid $$$)

## Slide 33
Glial networks in pig intestine visualized with iDISCO+
Data courtesy of Amanda Ziegler (Blikslager lab, NCSU)
GFAP immunostaining
Notes: GFAP: stains glial cell cytoskeleton
Illustrates segmentation based on morphology

## Slide 34
Labeling – (far) redder is better
Autofluorescence
AlexaFluor 488
Ex 488; Em 525/50
AlexaFluor 568
Ex 561; Em 595/40
AlexaFluor 647
Ex 640; Em 680/30
1 mm
Scattering
Absorbtion
Renier et al, Cell 2014

## Slide 35
Optimize mounting
Narrower in X
< WD in Z
Centered in XY
Areas of interest at top
Notes: Narrower: better propagation
Centered: better for tiling; possibly less shadowing,

## Slide 36
Optimize mounting
If sample is:
Too small
Too big
Too soft
Too asymmetric
Possible solutions:
Embed in agarose
Custom holders; cut smaller
Glue down, embed in agarose
Cut differently; glue down; custom holders

## Slide 37
Optimize mounting
Custom holders and pedestals
Very useful glue
Notes: Mention designs available

## Slide 38
Before imaging
During imaging
After imaging

## Slide 39
Know the key limitations
Radial aberrations
Better
Worse
Light propagation
Sheet shape
Notes: Radial are zoom independent
Sheet shape also affects Z, dramatically. Is zoom dependent
Light propagation: also in Z, a little

## Slide 40
Radial aberrations
Options?
Partly due to poor performance on edges of objective
Partly due to illumination with more than one sheet from each side

## Slide 41
Radial aberrations
Trade detail for eveness:
zoom out
Partly due to poor performance on edges of objective
Partly due to illumination with more than one sheet from each side

## Slide 42
Radial aberrations
Trade detail for eveness:
zoom out
Trade FOV for eveness:
crop
Partly due to poor performance on edges of objective
Partly due to illumination with more than one sheet from each side

## Slide 43
Light propagation
Options?
Not a problem in good samples
(well cleared, clean staining, no bubbles)

## Slide 44
Light propagation
Not a problem in good samples
(well cleared, clean staining, no bubbles)
Image with 2 sheets

## Slide 45
Sheet shape
Major problem in Z
x
y
z
Bigger problem at low mag
Low mag FOV
10X higher mag FOV

## Slide 46
Sheet shape and NA
Major problem in Z
x
z
High NA sheet
Tighter sheet waist
Uneven Z resolution across field of view
Brighter
Low NA sheet
Broader sheet waist
More even Z resolution across field of view
Dimmer

## Slide 47
Sheet shape and NA
Major problem in Z
Bigger problem at low mag
x
z
Low magnification; no cropping
Large field of view
Uneven Z resolution across field of view
High magnification and/or cropping
Small field of view
More even Z resolution across field of view

## Slide 48
Sheet shape
Options?
Major problem in Z
x
y
z
Bigger problem at low mag
Low mag FOV
10X higher mag FOV

## Slide 49
Sheet shape
Trade Z resolution for eveness:
lower sheet NA
x
y
z

## Slide 50
Sheet shape
x
y
z
Trade Z resolution for eveness:
lower sheet NA

## Slide 51
Mouse brain vasculature - high NA, R sheet
Sample courtesy of Nico Renier (ICM brain & spine, Paris)

## Slide 52
Mouse brain vasculature - low NA, R sheet
Sample courtesy of Nico Renier (ICM brain & spine, Paris)

## Slide 53
Mouse brain vasculature - low NA, R+L sheets
Sample courtesy of Nico Renier (ICM brain & spine, Paris)

## Slide 54
Sheet shape
x
y
z
Trade time for eveness:
crop + tile

## Slide 55
Sheet shape
x
y
z
Trade time for eveness:
crop + tile

## Slide 56
Sheet shape
x
y
z
Trade time for eveness:
crop + tile

## Slide 57
Sheet shape
x
y
z
Trade time for eveness:
crop + tile

## Slide 58
Sheet shape
x
y
z
Trade time for eveness:
crop + tile

## Slide 59
Sheet shape
x
y
z
Trade time for eveness:
crop + tile

## Slide 60
Sheet shape
x
y
z
Trade time for eveness:
crop + tile

## Slide 61
Sheet shape
x
y
z
Trade time for eveness:
Dynamic focus

## Slide 62
Sheet shape
x
y
z
Trade time for eveness:
Dynamic focus

## Slide 63
Sheet shape
x
y
z
Trade time for eveness:
Dynamic focus

## Slide 64
Sheet shape
x
y
z
Trade time for eveness:
Dynamic focus

## Slide 65
Sheet shape
x
y
z
Trade time for eveness:
Dynamic focus

## Slide 66
Sheet shape
x
y
z
Trade time for eveness:
Dynamic focus
Beware:
Documentation of DF algorithms is poor

## Slide 67
Sheet shape
Speed
Quality
Major problem in Z
Bigger problem at low mag
Trade time for eveness:
Crop + Tile
Dynamic focus
Trade Z res for eveness:
lower sheet NA

## Slide 68
Sheet shape – more problems
Z resolution gets worse as we move away from middle in any direction

## Slide 69
1 mm
A
B
C
D
E
3 R sheets
NA=0.154
Dt = 1x
3 R sheets
NA=0.017
Dt = 1x
3 R + 3 L sheets
NA=0.026
Dt = 2.2x
3 R sheets
NA=0.154
Dynamic focus (25 positions)
Dt = 12.8x
1 R sheet
NA=0.154
Dynamic focus (25 positions)
Dt = 12.8x
x
y
0.25 mm
x
z
Single XY planes from center of Z stacks acquired with different settings
XZ views of Z stacks (max projected in Y)
max Y
x
y
z
x
y
z
A
B
C
D
E
D
E

## Slide 70
Key to good tiling
Radial aberrations
Sheet shape
Crop!!!
Notes: Beware of edges when tiling

## Slide 71
Gerbil cochlea – 12.6X mag, high NA, crop+tile
Sample courtesy of Ken Hutson (Fitzpatrick lab, UNC)

## Slide 72
Laser power and exposure
To acquire data
To look at sample
Exposure time
Long
Short
Power level
Low
High
Low bleaching
High speed
Notes: Mention light-sheet time macro available

## Slide 73
Before imaging
During imaging
After imaging

## Slide 74
Workflow
Sample preparation
days - weeks
Sample mounting
minutes
Sample imaging
minutes - hours
Data visualization
minutes – tens of minutes
Data analysis
hours - months
Data management
tens of GBs – thousands of GBs
Chung et al, Nature 2013
Ertürk et al, 2012
Dobosz et al, Neoplasia 2014
Renier et al, Cell 2016

## Slide 75
Data management – Slow
“Network”
Scope
Acquisition PC
Workstation PC
Lab
Local HDD
External USB3
Core
Outside core
500Mb/s:
10Gb Ethernet
SATA
50-100 Mb/s:
1Gb Ethernet
USB3
SSDs
RAID 0
Datasets:
10-1000 GB

## Slide 76
Data management – Faster ($)
“Network”
Scope
Acquisition PC
Workstation PC
Lab
Hot swap SSD
Core
Outside core
500Mb/s:
10Gb Ethernet
SATA
Datasets:
10-1000 GB
Hot swap SSD
Hot swap SSD
Hot swap SSD
Hot swap SSD
50-100 Mb/s:
1Gb Ethernet
USB3
5.6TB/s/m
(4TB SSD, 1.4m/s human)
Notes: At 5km/hour, 1.4m/s. Assuming current consumer level max SSDs are 4TB, transporting 4TB over 14m takes 10s: 400Gb/s, or 4GB/s/m. Over 140m, it is 40Gb.s. Speed is same as SATA or 10Gb Ethernet if lab is 11.2km away (2 hours, 15 minute walk), assuming no motorized transport.
White paper available.

## Slide 77
Data Visualization
Use Imaris on the MSL workstation

## Slide 78
Conceptual issue:
What should you measure?
Execution issues:
Large datasets are very cumbersome
Algorithms are not always available
Data analysis
This is the bottleneck.
Notes: Typically 5-25GB data sets

## Slide 79
Contact MSL if you think this kind of microscopy would be useful for your research
msl@med.unc.edu
Notes: Typically 5-25GB data sets