## Slide 1: The basics of imaging cleared tissue
Pablo Ariel, Ph.D.
Microscopy Services Laboratory
Department of Pathology and Laboratory Medicine
Third iDISCO Workshop
April 25th, 2023
Rockefeller University and Kavli NSI, NYC

## Slide 2: Huge thanks to
Organizing gurus
Marc Schneeberger Pane
Han Tan
iDISCO conversations
Nico Renier
Zhuhao Wu
Funding
Kavli Neural System Institute

## Slide 3
Workflow
Sample preparation
days - weeks
Sample mounting
minutes
Sample imaging
minutes - hours
Data visualization
minutes – tens of minutes
Data analysis
hours - months
Data management
tens of GBs – thousands of GBs
Chung et al 2013
Ertürk et al 2012
Dobosz et al 2014
Renier et al 2016

## Slide 4
Workflow
Sample preparation
days - weeks
Sample mounting
minutes
Sample imaging
minutes - hours
Data visualization
minutes – tens of minutes
Data analysis
hours - months
Data management
tens of GBs – thousands of GBs
Chung et al 2013
Ertürk et al 2012
Dobosz et al 2014
Renier et al 2016

## Slide 5
3 tips before imaging

## Slide 6
Clearing and labeling
Use a method that works
iDISCO+ and AdipoClear perform well in many cases
For a question similar to yours
Not just in the lab that created it
With minimal equipment and fuss (avoid $$$)

## Slide 7
Labeling – (far) redder is better
Autofluorescence
AlexaFluor 488
Ex 488; Em 525/50
AlexaFluor 568
Ex 561; Em 595/40
AlexaFluor 647
Ex 640; Em 680/30
1 mm
Scattering
Absorbtion
Renier et al 2014

## Slide 8
Trim based on your biology

## Slide 9
Trim based on your biology

## Slide 10
Trim based on your biology

## Slide 11
Trim based on your biology

## Slide 12
Smaller samples:
  stain faster
  require less antibody
  clear faster
  are easier to image
Trim based on your biology

## Slide 13
On to imaging…

## Slide 14
Assumptions:
BIG samples: >2mm diameter
DEEP imaging: >2mm deep
Clearing with organic solvents
Imaging with turnkey commercial systems

## Slide 15
What level of detail do you need?

## Slide 16
Spacing is more important than size

## Slide 17
Example:
Labeled axons (0.2mm)

## Slide 18
Example:
Labeled axons (0.2mm)
look bigger
without high res optics

## Slide 19
Problem:
2 objects close together

## Slide 20
?
Problem:
2 objects close together

## Slide 21
?
Problem:
2 objects close together

## Slide 22
Spacing more important than size

## Slide 23
Spacing more important than size

## Slide 24
Examples of biological questions
Discerning subcellular details (spines, organelles)
Counting all cells in densely packed tissue
Tracing individual axons in densely labeled samples
Subcellular scale
Dense labelling
High resolution
sub-um(ish)
Locate cells of interest in large pieces of tissue
Trace neural circuits
Trace sparsely labeled axons
Analysis of vasculature
Medium resolution
um(ish)
Cellular scale
Sparse labelling

## Slide 25
Some light-sheet systems:
Very fast, low bleaching, uneven resolution across field of view
Different microscopes for different questions
Some laser scanning systems:
Slow, potential for high bleaching, even resolution across field of view
Subcellular scale
Dense labelling
High resolution
sub-um(ish)
Medium resolution
um(ish)
Cellular scale
Sparse labelling

## Slide 26
Different microscopes for different questions
Some laser scanning systems
Need very special objectives
Long working distance
High resolution (high NA)
Designed for RI of clearing solutions
Big (need special stands)
$$$
Subcellular scale
Dense labelling
High resolution
sub-um(ish)

## Slide 27
Objectives for high resolution volumetric imaging
$$$

## Slide 28
Objectives for high resolution volumetric imaging
FOV
more detail
more depth

## Slide 29
Objectives for high resolution volumetric imaging
FOV
more detail
more depth

## Slide 30
Objectives for high resolution volumetric imaging
RI
RI DBE = 1.56
more detail
more depth

## Slide 31
Objective details

## Slide 32
Implementation challenges
Immersion fluid:
  $$
  corrosion
  evaporation
  RI
Custom sample holders:
  Keep sample still
  Minimize immersion fluid
  Allow space for huge objectives

## Slide 33
Problems with laser scanning
Low Speed
High Bleaching

## Slide 34
Y
X
Scanning means imaging in series:
Low Speed

## Slide 35
Y
X
Scanning means imaging in series:
Low Speed

## Slide 36
Illuminating areas outside the focal plane:
High Bleaching
Where we get information
Where we bleach

## Slide 37
Illuminating areas outside the focal plane:
High Bleaching
Where we get information
Where we bleach

## Slide 38
Illuminating areas outside the focal plane:
High Bleaching
Where we get information
Where we bleach

## Slide 39
Problems with laser scanning
Low Speed
High Bleaching
Light-sheet is a great alternative

## Slide 40
Features of light-sheet microscopy
Sample with fluorophores
Laser sheet
Detection orthogonal to sheet
Objective
x
z

## Slide 41
Compared to scanning, light-sheet is
Faster
Less damaging
Modified from Leica Microsystems

## Slide 42
Photons have more chances to interact with informative fluorophores
Focal plane
Informative fluorophores
Excitation
Light-sheet bleaching bonus # 1
Laser scanning confocal
Light-sheet

## Slide 43
Light delivery is gentler
Light-sheet bleaching bonus # 2
Laser scanning confocal
Light-sheet
Pixels in series:
brief pixel dwell time
high power
Pixels in parallel:
long pixel exposure
low power

## Slide 44
Which light-sheet microscope ?
Remember assumptions:
BIG samples: >2mm diameter
DEEP imaging: >2mm deep
Clearing with organic solvents
Turnkey commercial systems

## Slide 45
Many commercial options
LaVision/Miltenyi
UltraMicroscope II and Blaze
Zeiss – Lightsheet 7
LifeCanvas Technologies
SmartSPIM
Bruker Luxendo
LCS SPIM
Olympus Phaseview
Alpha3
3i
CTLS

## Slide 46
For this course we have an UltraMicroscope II
Objective
Sample
Lavision Biotec
UltraMicroscope II

## Slide 47
To optimize, know the key limitation
Better
Worse
Sheet shape

## Slide 48
Sheet shape
Major problem in Z
x
y
z
Bigger problem at low mag or uncropped
Low mag FOV
10X higher mag
or
cropped
field of view
x
z

## Slide 49
Sheet shape
modified from Kirst…Renier 2020
Example with Brain Vasculature

## Slide 50
Sheet shape
Options?
Major problem in Z
x
y
z
Bigger problem at low mag or uncropped

## Slide 51
Sheet shape
x
y
z
Trade Z resolution for evenness:
lower sheet NA
Major problem in Z
Bigger problem at low mag or uncropped

## Slide 52
Sheet shape
x
y
z
Trade Z resolution for evenness:
lower sheet NA
Major problem in Z
Bigger problem at low mag or uncropped

## Slide 53
Sheet shape
x
y
z
Trade time for evenness:
Crop + Tile
Major problem in Z
Bigger problem at low mag or uncropped

## Slide 54
Sheet shape
x
y
z
Trade time for evenness:
Crop + Tile
Major problem in Z
Bigger problem at low mag or uncropped

## Slide 55
Sheet shape
x
y
z
Trade time for evenness:
Crop + Tile
Major problem in Z
Bigger problem at low mag or uncropped

## Slide 56
Sheet shape
x
y
z
Trade time for evenness:
Crop + Tile
Major problem in Z
Bigger problem at low mag or uncropped

## Slide 57
Sheet shape
x
y
z
Trade time for evenness:
Crop + Tile
Major problem in Z
Bigger problem at low mag or uncropped

## Slide 58
Sheet shape
x
y
z
Trade time for evenness:
Crop + Tile
Major problem in Z
Bigger problem at low mag or uncropped

## Slide 59
Sheet shape
x
y
z
Trade time for evenness:
Crop + Tile
Major problem in Z
Bigger problem at low mag or uncropped

## Slide 60
Sheet shape
x
y
z
Trade time for evenness:
Crop + Tile
Major problem in Z
Bigger problem at low mag or uncropped

## Slide 61
Sheet shape
x
y
z
Trade time for evenness:
Crop + Tile
Major problem in Z
Bigger problem at low mag or uncropped

## Slide 62
Sheet shape
x
y
z
Trade time for evenness:
Crop + Tile
Major problem in Z
Bigger problem at low mag or uncropped

## Slide 63
x
y
z
Trade time for evenness:
Crop + Tile
Sheet shape
Major problem in Z
Bigger problem at low mag or uncropped

## Slide 64
Sheet shape
x
y
z
Trade time for evenness:
Crop + Tile
Major problem in Z
Bigger problem at low mag or uncropped

## Slide 65
Sheet shape
x
y
z
Trade time for evenness:
Crop + Tile
Major problem in Z
Bigger problem at low mag or uncropped

## Slide 66
Sheet shape
x
y
z
Trade time for evenness:
Crop + Tile
Major problem in Z
Bigger problem at low mag or uncropped
Big stitching challenge

## Slide 67
Sheet shape
x
y
z
Trade time for evenness:
Dynamic focus
Major problem in Z
Bigger problem at low mag or uncropped

## Slide 68
Sheet shape
x
y
z
Trade time for evenness:
Dynamic focus
Major problem in Z
Bigger problem at low mag or uncropped

## Slide 69
Sheet shape
x
y
z
Trade time for evenness:
Dynamic focus
Major problem in Z
Bigger problem at low mag or uncropped

## Slide 70
Sheet shape
x
y
z
Trade time for evenness:
Dynamic focus
Major problem in Z
Bigger problem at low mag or uncropped

## Slide 71
Sheet shape
x
y
z
Trade time for evenness:
Dynamic focus
Major problem in Z
Bigger problem at low mag or uncropped

## Slide 72
Sheet shape
x
y
z
Trade time for evenness:
Dynamic focus
Major problem in Z
Bigger problem at low mag or uncropped
Blending algorithm challenge

## Slide 73
Sheet shape
Speed
Quality
Major problem in Z
Bigger problem at low mag or uncropped
Trade time for evenness:
Crop + Tile
Dynamic focus
Trade Z res for evenness:
lower sheet NA

## Slide 74
Optimization example

## Slide 75
Brain vasculature - high NA
x
y
z

## Slide 76
Brain vasculature - high NA
0.25 mm
Sample courtesy of
Nico Renier
max Y
x
y
z
x
y
z
x
y
Dt = 1x
x
z

## Slide 77
Brain vasculature - low NA
0.25 mm
Sample courtesy of
Nico Renier
x
y
Dt = 1x
x
z
max Y
x
y
z
x
y
z

## Slide 78
Brain vasculature - high NA, dynamic focus
0.25 mm
Sample courtesy of
Nico Renier
x
y
Dt = 12.8x
x
z
max Y
x
y
z
x
y
z

## Slide 79
What if we need
high XYZ resolution
and
a large area ?
We have to tile and stitch images.

## Slide 80
Problem
Low quality on stitching edges
Sheet shape
“Radial” aberrations
Lens performance worse away from middle
Notes: Beware of edges when tiling

## Slide 81
Solution
Crop high quality region for good stitching
Sheet shape
“Radial” aberrations
Notes: Beware of edges when tiling

## Slide 82
Gerbil cochlea – 12.6X mag, high NA, crop+tile
Sample courtesy of Ken Hutson (Fitzpatrick lab, UNC)

## Slide 83
A few final tips and tricks

## Slide 84
For your data:
Always look at XZ views with Imaris Viewer
Cannot miss:
Poor clearing
x
z
Better
Worse

## Slide 85
For your data:
Always look at XZ views with Imaris Viewer
Cannot miss:
Poor clearing
Poor staining
x
z
Not enough Ab
Ab concentration
too high
Specific shell
Non-specific ring

## Slide 86
For your data:
Always look at XZ views with Imaris Viewer
Not enough Ab
Ab concentration
too high
Specific shell
Non-specific ring

## Slide 87
For your data:
Always look at XZ views with Imaris Viewer
Cannot miss:
Poor clearing
Poor staining
Chromatic aberrations
x
z

## Slide 88
For your data:
Always look at XZ views with Imaris Viewer
Cannot miss:
Poor clearing
Poor staining
Chromatic aberrations
For papers:
Be suspicious if there are no XZ views
Easy to hide issues in 3D views and animations

## Slide 89
Rehydrate the sample after light-sheet for
H&E pathology
Buglak et al, J Cardiovasc Res 2021
Rat carotid artery
Higher res confocal
Hutson et al, J Comp Neurol 2020
Gerbil cochlea

## Slide 90
Move big datasets with sneakernet
“Network”
Scope
Acquisition PC
Workstation PC
Lab
Hot swap SSD
Where you image and analyze
Everywhere else
500Mb/s:
10Gb Ethernet
SATA
Datasets:
10-1000 GB
Hot swap SSD
Hot swap SSD
Hot swap SSD
Hot swap SSD
50-100 Mb/s:
1Gb Ethernet
USB3
5.6TB/s/m
(4TB SSD, 1.4m/s human)
Fastest
Cheap(ish)
Low-tech
Notes: At 5km/hour, 1.4m/s. Assuming current consumer level max SSDs are 4TB, transporting 4TB over 14m takes 10s: 400Gb/s, or 4GB/s/m. Over 140m, it is 40Gb.s. Speed is same as SATA or 10Gb Ethernet if lab is 11.2km away (2 hours, 15 minute walk), assuming no motorized transport.
White paper available.

## Slide 91
Take home
Focus on what you need to answer your biological question
Imaging time
“Quality”
XYZ resolution
Evenness of Z resolution
Signal-to-noise
Volume
Bleaching
Dataset size
Nothing in microscopy
is free

## Slide 92
If you want more information
HTML and PDF user guides
Video tutorials: microscope use and maintenance
Video lectures
3D files for sample holders

## Slide 94
Take home
Focus on what you need to answer your biological question
Imaging time
“Quality”
XYZ resolution
Evenness of Z resolution
Signal-to-noise
Volume
Bleaching
Dataset size